Analysis

- What is chromatography?

- Give some uses of chromatography.

- Define mobile phase and stationary phase.

- What causes different compounds to separate out during chromatography?

- In TLC what states are the mobile and stationary phases in?

- In gas chromatography what states are the mobile and stationary phases in?

- Define adsorption

- What is the difference between the way a solid stationary phase separates and the way a liquid stationary phase separates?

- What stationary phase is usually used in TLC?

- How is the sample prepared for TLC?

- What is usually drawn at the bottom of the TLC plate?

- What a TLC plate is placed in the jar containing solvent, where must the solvent level be?

- Why is the jar sealed during TLC?

- What causes separation as the solvent rises in TLC?

- When is the plate taken out of the solvent?

- What is done to the plate after it is removed from the solvent?

- Define chromatogram.

- How are colourless components viewed on a chromatogram?

- What is an Rf value and how is it calculated?

- How are Rf values used?

- What are the limits of TLC analysis?

- What is gas chromatography (GC) used for?

- What is the stationary phase in GC?

- What is the mobile phase in GC?

- What happens after a mixture is injected into the gas chromatograph?

- What does the mobile carrier gas do?

- What happens as the mixture moves through the capillary column and why?

- What is the gas chromatogram based on?

- Define retention time and explain how it is used.

- What are the limitations of GC and how can these be overcome?

- Why are GC and mass spectrometry (MS) usually used together and what is the process for this?

- Describe how GC-MS are used in forensics, environmental analysis, airport security and space probes.

- What are the requirements for NMR spectroscopy?

- What is a nucleon?

- Define chemical shift.

- What is TMS and what is used for?

- What solvent is used for NMR and why?

- Why is carbon-13 ideal for NMR spectroscopy?

- What does chemical shift tell us in C-13 NMR?

- What is an equivalent carbon?

- What is the limitation of the chemical shift in C-13 NMR?

- What do the number of peaks tell us in C-13 NMR?

- What does the size of the peak tell us in C-13 NMR?

- Why is Hydrogen-1 ideal for NMR?

- Why does proton NMR require far less material than C-13 NMR?

- What do the number of peaks and chemical shift tell us in H-1 NMR?

- What does the relative peak area tell us in H-1 NMR?

- What does spin-spin coupling tell us in H-1 NMR?

- What is the integration trace and what does it tell us?

- What is the n+1 rule?

- What is the name of the multiplet if there are no splits?

- What is the name of the multiplet if there are 2, 3 or 4 splits?

- What does a triplet-quartet pairing usually indicate?

- What is the problem with OH and NH in H-1 NMR?

- What type of splitting pattern is seen in OH and NH and what is the peak usually like?

- How is the problem of OH and NH peaks overcome?

- Explain how H-1 NMR is used in diagnostic medicine.

- What does mass spectrometry tell us and what are its limitations?

- What does infrared spectroscopy tell us and what are its limitations?